Western Australia – Transmission

Pilbara Pipeline System

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
| PL22 | Karratha to Port Headland | Epic Energy | 215 | 457 |
| PL31 | PEP Extension BHP HBI Plant |  | 6 | 457 |
| PL38 | Burrup Extension Pipeline | (Partial lease to DBNP) | 24 | 610 |
| PL55 | Wodgina gas pipeline (Gwalia tantulum) |  | 4 | 114.3 |
| PL56 | Wodgina gas pipeline |  | 78 | 114.3 |
| PL82 | Karratha Power Station Lateral |  | 5 | 219.1 |

PL22, PL31, PL38, PL55 & PL56 = Pipeline Licence issued under Petroleum Pipelines Act 1969