South Australia – Transmission

South East Pipeline System

| Pipeline licence | Location/Route | Operator | Length | Diameter |
| --- | --- | --- | --- | --- |
|  |  | APA Group |  |  |
| PL4 | Katnook to Glencoe Junction |  | 27km | 168.3mm |
|  | Glencoe Junction to Mount Gambier |  | 20km | 168.3mm |
|  | Glencoe Junction to Snuggery |  | 20km | 168.3mm |
| PL3 | SAFRIES Lateral |  | 4.5km | 60.3mm |

PL3 & PL4 =Pipeline Licence issued under the Petroleum Act 1940 (SA)