Tasmania – Transmission

Tasmanian Gas Pipeline

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
|  |  | OSD Asset Services |  |  |
|  | Longford (Victoria) to Bell Bay (Tasmania) |  | 342 | 350 |
|  | Bell Bay to Bridgewater (Tasmania) |  | 207 | 200 |
|  | Rosevale to Port Latta lateral (Tasmania) |  | 180 | 150 |