NSW – Transmission

Moomba to Sydney Pipeline System

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
|  | Moomba to Sydney Pipeline System* ** | East Australia Pipeline Ltd |  |  |
| SA:PL7 | Moomba to Queensland border |  | 111 (incl. 10km loop at Moomba) | 864, 660 |
| Qld:PPL21 | SA Border to NSW border |  | 56.2 | 864 |
| NSW:16 | Qld/NSW border to Wilton |  | 1,142 | 864 |
| NSW:19 | Young to Wagga Wagga |  | 131 | 324/89 |
| NSW:19 | Cootamundra Spur |  | 2.7 | 89 |
| NSW:20 | Junee to Griffith/Leeton |  | 180 | 168/114 |
| NSW:17 | Young to Lithgow |  | 212 | 168 |
| NSW:18 | Oberon Spur |  | 31 | 168 |
| NSW:22 | Orange Spur |  | 24 | 114 |
| NSW:17 | Bathurst Spur |  | 2 | 114 |
| NSW:21 | Dalton to ACT border |  | 52 | 273 |
| NSW:21 | ACT/NSW border to North Watson |  | 6 | 273 |

SA=Pipeline Licence issued under the Petroleum Act 1940 (SA)
Qld=Pipeline Licence issued under the Petroleum Act 1923 (Qld)
NSW=Pipeline Licence issued under the Petroleum Act 1967 (NSW)

*Coverage of that part of the Moomba to Sydney Pipeline from the exit flange at the Moomba processing facility to immediately upstream of the take-off point of the Central West pipeline at Marsden, New South Wales, has been revoked, with effect from 11 December 2003.

** On 10 November 2008, the NCC determined that the services provided by the covered portion of the pipeline will be subject to light regulation.