NSW - Distribution

Envestra (Wagga Wagga) Gas Network

| Location/Route | Operator | Description |
| --- | --- | --- |
| Country Energy Gas Network | Envestra | 680km of mains and 190km of service pipes |
| Wagga Wagga |  | High pressure (400-1050kPa), medium high pressure (80-250kPa), medium low pressure (20-40kPa) and low pressure (<7kPa) |