South Australia – Transmission

SEAGas Pipeline System

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
| PL13 for SA PL239 for Vic | Minerva processing plant near Port Campbell in Victoria to Pelican Point near Adelaide in South Australia. | APA Group | 680 | Approx. half of its length consists of twin 350mm pipes with the remainder being a single 450mm pipe. |

SA=Pipeline Licence issued under the Petroleum Act 2000 (SA)

Vic=Pipeline Licence issued under the Pipelines Act 2005 (Vic)