Northern Territory – Transmission

Bonaparte Gas Pipeline

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
| NT:PL21 | Eni Gas Plant at Wadeye to the Amadeus Gas Pipeline at Ban Ban Springs | APT Pipelines NT Pty Ltd | 286 | 300 Max. operating pressure 15,300 kPa |

NT Pipeline License issued under the Energy Pipelines Act  1981(NT)