South Australia – Transmission

Moomba to Adelaide Pipeline System

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
| PL1 | Moomba to Adelaide Pipeline System | QIC Global Infrastructure | 781km | 559mm |
|  | Whyalla / Port Pirie Lateral |  | 87.7km 78km | 219mm 168mm |
|  | Angaston Lateral |  | 38.7km | 219mm |
|  | Wasleys Loop (Barker Inlet underwater crossing) |  | 42km | 508mm |
|  | MAP Loop 1 (CS1) |  | 5.3km | 610mm |
|  | MAP Loop 2 (CS2) |  | 10km | 610mm |
|  | MAP Loop 3 (CS3) |  | 13.3km | 610mm |
|  | MAP Loop 4 (CS4) |  | 6km | 610mm |

PL1=Pipeline License issued under the Petroleum Act 1940 (SA)